## Slide 1: CXBN-2 Science: characterization of detector prototype and development of data analysis protocol
Biswas Sharma
Mentors: Dr. Thomas Pannuti, Prof. Jeff Kruth,
Dr. Benjamin Malphrus, Dr. Dirk Grupe
4/22/2015

## Slide 2: Slides Progression
Introduction
CZT Detector Array
Characterization
Data Analysis
Future Work

## Slide 3
In search of fluorescence of solar X-rays from the moon:
The X-ray Sky
Notes: To begin with, I could spend a lot of time talking about the history of the cosmic x-ray background detection. However, the ROSAT image you can see on the screen is very succinct and tells you a lot about the x-ray background. More than two decades ago, when researchers were trying to measure the fluorescence of solar x-rays from the bright side of the moon, they found out that there was a consistent background present in the image. This X-ray background, as you can see in the image, was found to be somehow blocked by the dark side of the moon. This made it clear that the x-ray background had to be coming from outside the solar system.

## Slide 4
Galaxy cluster
Diffuse background
Chandra observation of galaxy cluster CL0030+2618
The X-ray Sky
Notes: Then, with the advancement of detector technology, we were able to resolve objects farther in the sky. The X-ray background was still persistent. Researchers had a consensus that the background could have a galactic origin. However, with more and more observations of objects all over the sky, it became clear that even though a lot of the low-energy emission of the x-ray background came from the galactic plane, most of the emission, above 10 keV, was isotropic. The image you can see on the screen is a Chandra X-ray Observatory image of a galaxy cluster. The image clearly shows X-ray emission coming from the core and from the intra-cluster medium within the galaxy cluster. However, as the image reveals, there is an emission in the same energy range coming from the background as well.

## Slide 5
NGC 4151
The X-ray Sky
Notes: This is an optical image of the galaxy NGC 4151.

## Slide 6
Position
Flux
NGC 4151
A bright Active Galactic Nucleus (AGN)
outside our galaxy
The X-ray Sky
Notes: If you observe this galaxy in the X-ray wavelength, you can see a plot of x-ray flux as a function of position which peaks at the position of the galaxy.

## Slide 7
But what about
this Diffuse Background?
We know where this intensity is
coming from
Position
Flux
The X-ray Sky
Notes: However, there is also a consistent background flux present in the measurement, and that does not correlate to any resolved source in the sky.

## Slide 8
Is the Diffuse X-Ray Background (DXRB) due to AGN that are too distant to resolve with our telescopes or something else?
“… the cosmic X-ray background (CXB), still remains one of the most interesting topics of X-ray astronomy and observational cosmology.”
- Revnivtsev et al. 2003, A&A, Volume 411, Pages 329-334
Position
Flux
The X-ray Sky
Notes: Astrophysical models developed by researchers tell us that this emission could be coming from Active Galactic Nucleii that are too far to be resolved by our telescopes. However, this argument comes with a lot of doubts, and the nature of this diffuse cosmic x-ray background remained one of the most interesting topics of X-ray astronomy and observational cosmology.

## Slide 9
Previous measurements of DXRB disagree by about 10%
Comparison of past CXB measurements (Türler et al. 2010)
CXRB Measurement

## Slide 10
CXRB Measurement
  Valuable for many reasons:
    Observational constraint in the study of the very high redshift (z>6) AGNs which will remain unresolved even with the next generation of X-ray telescopes (Salvaterra et al. 2007; Rhook & Haehnelt 2008)
    Ensure proper background subtraction when studying objects emitting radiation in the same energy range (clusters and groups of galaxies) (Gastaldello et al. 2007; Snowden et al. 2008)
    Lend insight into the evolution of primordial galaxies

## Slide 11
  2U CubeSat with 2 Cadmium-Zinc-Telluride (CZT) detectors
Cosmic X-ray Background Nanosatellite - 2

## Slide 12
3 million seconds of data
~1 year of operation
Broadband S/N ~250
CXBN-2 Science objectives

## Slide 13
CZT Array
COTS REDLEN M1770 Gamma Imaging Module
    2 Detectors in detector system
      Reduces systematic uncertainty
  Energy Range: 20- 50 keV
  Mass: 200 g
  Detector Area: 40x40 mm
  16 X 16 array 2.46 mm pixel pitch
Redlen Gamma Imaging Module

## Slide 14
Characterization
  Radioisotopes
  Pixel by pixel
Data Analysis
  Standard software such as XSPEC
  Open to scientific community
Detector characterization and Data Analysis

## Slide 15
  Barium-133 – 30.7 keV, 53.2 keV, 80.1 keV, 356 keV
  Cadmium-109 – 22.1 keV, 88 keV
  Cobalt-57 – 4.4 keV, 122.1 keV, 136.5 keV
  Americium-241 – 59.5 keV
                www.nucleide.org
Radioisotopes used in characterization

## Slide 16
Detector characterization
Histogram of the measurement of 122.1 keV X-Ray from Cobalt-57 gamma decay, side peak at 136.5 keV
10.03701
10.03701
Characterization of CXBN-2 CZT array using Cobalt-57 source in laboratory

## Slide 17
Detector characterization
Histogram of the measurement of 122.06 keV and 136.47 keV photons from Cobalt-57 gamma emissions with tungsten fluorescence at 59.32 keV and 67.24 keV
Characterization of CXBN-2 CZT array using Cobalt-57 source in laboratory

## Slide 18
Detector characterization
Characterization of individual pixels

## Slide 19
Detector characterization
Preliminary result of noise floor measurement

## Slide 20
Detector characterization
Preliminary result of noise floor measurement

## Slide 21
Detector characterization
Noise floor spectra from individual pixels

## Slide 22
  Data in format analyzable by scientific community
  Standard analysis software: XSPEC
  Needs detector response along with data file
    Redistribution Matrix File (RMF)
  Detector Count Rate = Redistribution Matrix × Flux Density
Data Analysis

## Slide 23
  Source with known flux at desired energy band
  Collimate over a single pixel
    => Each pixel is independently a detector
  Measure count rate
  Detector Count Rate = Redistribution Matrix × Flux Density
  Repeat for other energy bands: Energy range of interest: 20-50 keV
  Repeat for other pixels
Creating the Redistribution matrix

## Slide 24
Creating the Redistribution matrix
  Pixel response elements positions in the redistribution matrix for a particular energy band
1,1 | 1,2 | 1,3 | .. | .. | .. | .. | .. | 1,254 | 1,255 | 1,256
2,1 | 2,2 |  |  |  |  |  |  |  |  | :
3,1 |  | 3,3 |  |  |  |  |  |  |  | :
: |  |  | 4,4 |  |  |  |  |  |  | :
: |  |  |  | . |  |  |  |  |  | :
: |  |  |  |  | . |  |  |  |  | :
: |  |  |  |  |  | . |  |  |  | :
: |  |  |  |  |  |  | 253,253 |  |  | 253,256
254,1 |  |  |  |  |  |  |  | 254,254 |  | 254,256
255,1 |  |  |  |  |  |  |  |  | 255,255 | 255,256
256,1 | 256,2 | 256,3 | .. | .. | .. | .. | .. | 256,254 | 256,255 | 256,256

## Slide 25
Chart: Cd-109 Event Distribution Map
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
0 | 44 | 25 | 17 | 28 | 17 | 14 | 13 | 25 | 21 | 20 | 27 | 17 | 26 | 22 | 26 | 26
1 | 25 | 29 | 19 | 18 | 14 | 13 | 15 | 16 | 11 | 15 | 11 | 18 | 20 | 5 | 19 | 21
2 | 20 | 20 | 17 | 15 | 25 | 19 | 13 | 11 | 14 | 6 | 15 | 12 | 19 | 23 | 13 | 12
3 | 19 | 14 | 15 | 18 | 15 | 10 | 16 | 16 | 18 | 14 | 17 | 12 | 10 | 14 | 13 | 18
4 | 15 | 13 | 13 | 18 | 8 | 6 | 9 | 12 | 14 | 12 | 15 | 8 | 13 | 15 | 20 | 13
5 | 18 | 9 | 9 | 10 | 9 | 10 | 7 | 10 | 16 | 11 | 6 | 7 | 5 | 19 | 15 | 24
6 | 15 | 13 | 13 | 15 | 11 | 11 | 14 | 6 | 12 | 13 | 13 | 19 | 16 | 17 | 17 | 10
7 | 22 | 19 | 11 | 16 | 12 | 13 | 8 | 19 | 10 | 8 | 15 | 15 | 11 | 14 | 14 | 13
8 | 20 | 14 | 12 | 16 | 8 | 10 | 12 | 13 | 10 | 15 | 23 | 16 | 20 | 14 | 23 | 7
9 | 24 | 15 | 9 | 17 | 13 | 9 | 10 | 20 | 20 | 12 | 16 | 21 | 11 | 25 | 12 | 19
10 | 24 | 20 | 13 | 6 | 11 | 14 | 14 | 15 | 12 | 26 | 22 | 87 | 821 | 74 | 17 | 16
11 | 22 | 14 | 12 | 7 | 6 | 19 | 14 | 11 | 12 | 21 | 44 | 627 | 9295 | 763 | 32 | 18
Creating the Redistribution matrix
  Results from preliminary analysis showing response of illuminated and unilluminated pixels

## Slide 26
Creating the Redistribution matrix
  Results from preliminary analysis showing response of illuminated and unilluminated pixels

## Slide 27
  Apply calibrations to individual pixels
  Use Americium source to fill in redistribution matrix elements at the end of the energy range (59.5 keV)
  Minimum measurable photon energy
  Packetization of data and correlation with spacecraft sensors need to be determined and optimized to meet downlink constraints
Future work

## Slide 28
  CXRB: Poorly understood
  CXBN-2: CubeSat with 2 CZT arrays
  Detector arrays being characterized at MSU Space Science Center
  Data analysis to be aided with redistribution matrix
Summary

## Slide 29
  Sean McNeil
  Jordan Healea
  Dr. Roger McNeil
  Ian Ray
  Sonny Ernst
  Mason Bush
  Taylor Barber
  Michael Robbins
Thanks

## Slide 30
Questions?

## Slide 31
Thank You!

## Slide 33
Additional slides

## Slide 34
ADC output of X-ray events to data file
Correlation of CZT data with GPS, IR sensors
Data packets optimized for UHF beacon/ S-band downlink by in-flight software
Real-time data packets transmitted to Earth station(s) and archived
Data reduction and analysis with standard software
Operations: chain of events

## Slide 35: Data format (Science Array)
Array data parsed together from bits [20:1] of the received string sent from the Science Array.
“Energy Data”- ADC count converted from the analog voltage signal produced from the event.
  The Science array includes a 12-bit ADC.
“Pixel Address”- Address of the pixel where the event occurred.
  The CZT crystal is composed of 256 separate pixels.
“Bsy”, “Err” - Status flags
“Prty” - Even parity bit

## Slide 36: Calibration Code
pixel_data[x][y].calibration_slope =
(Co57_GAMMA2 - Co57_GAMMA1)/(x2*BIN_SIZE - x1*BIN_SIZE);
pixel_data[x][y].calibration_offset =
Co57_GAMMA2 - x2*BIN_SIZE*pixel_data[x][y].calibration_slope;
///// y-intercept of the calibration plot with actual values on y axis and adc values on x axis

## Slide 37
CXRB Measurement